Applications

PROSE Mesh Cable Tray is a professional cabling support system that provides reliable protection and convenient management for optical fibers and cables. It is widely used in data centers, communication rooms, and industrial/commercial scenarios. The basic components include: mesh cable tray bodies, connectors, elbows, tees, crosses, adapters, terminal end caps, fiber outlets, and various support components. With standardized modular design and high precision, it enables rapid, flexible installation and comprehensive protection for transmission lines.

Characteristic

- Innovative mesh design, ensuring good ventilation and heat dissipation to reduce energy consumption.

- Tool-free flexible installation, allowing on-site fabrication of elbows and easy component connection.

- Multiple fiber outlet and mesh cable tray specifications to meet diverse layout needs.

- Strong compatibility, supporting modular expansion and multi-scenario application.

- High-quality materials with certifications like UL, CE, ensuring safety and durability.

- Visual cable management and easy maintenance, with open mesh for clear internal inspection.

Straight Duct

Straight Duct

| Product Number | CT20-U-055-13：200mm(W) x50mm(H) CT30-U-055-13：300mm(W) x50mm(H) CT40-U-055-13：400mm(W) x50mm(H) CT50-U-055-13：500mm(W) x50mm(H) CT20-U-105-13：200mm(W) x100mm(H) CT30-U-105-13：300mm(W) x100mm(H) CT40-U-105-13：400mm(W) x100mm(H) CT50-U-105-13：500mm(W) x100mm(H) |
| --- | --- |
| Length | 3000mm |
| Materials | Q235(EZ) |

4

3

2

1

Mesh buckle kit

Connector

| Product Number | CTAC-CO-3100-1 |
| --- | --- |
| 1 | M6×20 carriage bolt |
| 2 | External buckle |
| 3 | Internal buckle |
| 4 | M6 flange nut |

Quick connector kit

| Product Number | CTAC-CO-3200-1 |
| --- | --- |
| Scope of application and usage |  |
| 50-300mm wide | Side: 2 sets of mesh quick connection strips; Bottom: None |
| 400-500mm wide | Side: 2 sets of mesh quick connection strips; Bottom: 1 set of mesh buckle assembly |
| Width above 600mm | Side: 2 sets of mesh quick connection strips; Bottom: 2 set of mesh |

1

2

| Product Number | CTAC-CO-3300-1 |
| --- | --- |
| 1 | Mesh L-shaped connector |
| 2 | Mesh buckle assembly |

L-shaped link kit

Reinforcement strip kit

3

2

1

| Product Number | CTAC-CO-3400-1 |
| --- | --- |
| 1 | Mesh internal buckle assembly |
| 2 | Mesh buckle assembly |
| 3 | Mesh external buckle assembly |

3

2

1

Central buckle kit

| Product Number | CTAC-CO-3500-1 |
| --- | --- |
| 1 | M6×20 carriage bolt |
| 2 | Mesh buckle assembly |
| 3 | M6 hex flange nut |

Curved reinforcement strip kit

2

1

| Product Number | CTAC-CO-3600-1 |
| --- | --- |
| 1 | Curved reinforcement strip |
| 2 | Mesh buckle assembly |

Inner and outer bend

reinforcement strip kit

3

1

2

| Product Number | CTAC-CO-3700-1 |
| --- | --- |
| 1 | Inner and outer bend reinforcement strip |
| 2 | External clip |
| 3 | M6×20 carriage bolt and M6 flange nut |

Boltless buckle

| Product Number | CTAC-CO-3800-1 |
| --- | --- |
| Boltless installation, used for the bottom connection when connecting mesh in a straight line horizontally. |  |

Mesh partition

| Product Number | CTAC-CO-3900-1 |
| --- | --- |
| Size | H40mm H50mm H60mm H75mm H100mm H150mm |

Cable outlet accessories

| Product Number | CTAC-CU-41XX-1 |
| --- | --- |
| Size | H100mm, W200mm H100mm, W300mm |
| Installation accessories | 4 M8×16 hex flange bolts and 4 M8 hex flange nuts |

Mesh cable outlet

| Product Number | CTAC-CU-4200-1 |
| --- | --- |
| Installation accessories | 2 reinforced external clamps, 2 M8×16 hex flange bolts, and 2 M8 hex flange nuts |

Lightweight grid outlet

Pipe fixing plate

| Product Number | CTAC-CU-43XX-1 |
| --- | --- |
| Single-hole pipe fixing plate | φ17 φ21 φ25 φ32 |
| Double-hole pipe fixing plate | φ17 φ21 |
| Three-hole pipe fixing plate | φ21、φ25、φ32 |

| Product Number | CTAC-CU-44XX-1 |
| --- | --- |
| Size | W45mm W90mm |

Cable outlet plate

Cover

Mesh cable outlet

| Product Number | CTAC-CU-51XX-1 |
| --- | --- |
| Size | H50mm W100mm H50mm W150mm H50mm W200mm H100mm W100mm H100mm W150mm H100mm W200mm H100mm W300mm H100mm W400mm H150mm W300mm H150mm W400mm H150mm W500mm H150mm W600mm |

| Product Number | CTAC-CU-52XX-1 |
| --- | --- |
| Size | W50mm W100mm W150mm W200mm W300mm W400mm W500mm W600mm |

Mesh tray cover and cover clips

Wall-mounted Bracket

| Product Number | CTAC-WB-61XX-1 |
| --- | --- |
| Size | W100mm W150mm W200mm W300mm W400mm |

L-shaped wall backing board

| Product Number | CTAC-WB-62XX-1 |
| --- | --- |
| Size | W100mm W150mm W200mm W300mm W400mm |

Triangular wall backrest

| Product Number | CTAC-WB-6300-1 |
| --- | --- |
| Size | H81mm W75mm |

Spider Buckle

| Product Number | CTAC-WB-6400-1 |
| --- | --- |
| Size | 14.5mm * 51mm * 37mm (2mm thick) |

Cross fixing plate

| Product Number | CTAC-WB-6500-1 |
| --- | --- |
| Size | W80mm W300mm W400mm |

Right-angle wall backing board

Hanging Bracket

C-shaped cross bar

| Product Number | CTAC-HB-71XX-1 |
| --- | --- |
| Size | 10：W100mm；20：W200mm；30：W300mm 40：W400mm；50：W500mm；60：W600mm |
| Installation accessories | Fixing Clip Outer clamp M6×20 flange bolt M6 flange nut Threaded rod |

U-shaped cross bar

| Product Number | CTAC-HB-72XX-1 |
| --- | --- |
| Size | 10：W100mm；20：W200mm；30：W300mm 40：W400mm；50：W500mm；60：W600mm |
| Installation accessories | NA M6 flange nut Threaded suspension rod Kits |

| Product Number | CTAC-HB-73XX-1 |
| --- | --- |
| Size | 10：W100mm；20：W200mm；30：W300mm 40：W400mm；50：W500mm；60：W600mm |
| Installation accessories | NA M6 flange nut Threaded suspension rod |

M-shaped cross bar

| Product Number | CTAC-HB-7400-1 |
| --- | --- |
| Component parts | Profile suspension rod Triangular plate wall support |

Profile hanging kit

| Product Number | CTAC-HB-7500-1 |
| --- | --- |
| Installation accessories | M6 flange nut Threaded rod |

Grid hook

Grid hanging kit

| Product Number | CTAC-HB-7600-1 |
| --- | --- |
| Size | 73mm * 30mm * 30mm |
| Installation accessories | M6 flange nut Threaded rod |

| Product Number | CTAC-HB-7700-1 |
| --- | --- |
| Installation accessories | M6 flange nut Threaded rod PVC pipe |

Central snap

| Product Number | CTAC-HB-7800-1 |
| --- | --- |
| Size | U-Type M-Type Enhanced type |

Purlin end cap

Lead screw kit

| Product Number | CTSA-LS-XX*XXX |
| --- | --- |
| Size | M8*1000; M10*1000; M12*1000; M14*1000 M8*3000; M10*3000; M12*1000; M14*1000 |
| Installation accessories | NA Expansion screw Nut |

Floor Bracket

| Product Number | CTAC-FB-81XX-1 |
| --- | --- |
| Size | H:50mm 100mm 150mm 200mm W:100mm 200mm 300mm 400mm 500mm 600mm |
| Installation accessories | M8×16 hex flange bolts M8 hex flange nuts |

L-shaped wall backing board

| Product Number | CTAC-FB-8200-1 |
| --- | --- |
| Installation accessories | M6×20 hex flange bolts M6 hex flange nuts Fixing Clip Outer clamp |

Profile support kit

| Product Number | CTAC-FB-8300-1 |
| --- | --- |
| Component parts | Profile Hanger Rod Triangular wall brace |

Profile support kit

(Triangular wall brace)

| Product Number | CTAC-FB-8400-1 |
| --- | --- |
| Size | W100mm W150mm W200mm |

V-shaped support kit

GLOBAL FOOTPRINT

HQ

PRODUCTION / OPERATIONAL HUB

R&D / ENGINEERING

SUBSIDIARIES / SALES REPRESENTATIVES

PROSE Technologies

www.ProseTechnologies.com

info@ProseTechnologies.com

© 2026 PROSE Technologies

04/26

For more information

refer to our website