Cable Mesh Tray
200/300/400/500*50/100mm series

Applications
PROSE Mesh Cable Tray is a professional cabling support system that provides reliable protection and convenient management for optical fibers and cables. It is widely used in data centers, communication rooms, and industrial/commercial scenarios. The basic components include: mesh cable tray bodies, connectors, elbows, tees, crosses, adapters, terminal end caps, fiber outlets, and various support components. With standardized modular design and high precision, it enables rapid, flexible installation and comprehensive protection for transmission lines.
Characteristic 
· Innovative mesh design, ensuring good ventilation and heat dissipation to reduce energy consumption.
· Tool-free flexible installation, allowing on-site fabrication of elbows and easy component connection.
· Multiple fiber outlet and mesh cable tray specifications to meet diverse layout needs.
· Strong compatibility, supporting modular expansion and multi-scenario application. 
· High-quality materials with certifications like UL, CE, ensuring safety and durability.
· Visual cable management and easy maintenance, with open mesh for clear internal inspection.
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	Product Number
	CT20-U-055-13：200mm(W) x50mm(H)
CT30-U-055-13：300mm(W) x50mm(H)
CT40-U-055-13：400mm(W) x50mm(H)
CT50-U-055-13：500mm(W) x50mm(H)
CT20-U-105-13：200mm(W) x100mm(H)
CT30-U-105-13：300mm(W) x100mm(H)
CT40-U-105-13：400mm(W) x100mm(H)
CT50-U-105-13：500mm(W) x100mm(H)



	Length
	3000mm

	Materials
	Q235(EZ)
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Mesh buckle kit

	Product Number
	CTAC-CO-3100-1

	1
	M6×20 carriage bolt

	2
	External buckle

	3
	Internal buckle

	4
	M6 flange nut


[image: ]Quick connector kit

	Product Number
	CTAC-CO-3200-1

	Scope of application and usage

	50-300mm wide
	Side: 2 sets of mesh quick connection strips; Bottom: None

	400-500mm wide
	Side: 2 sets of mesh quick connection strips; Bottom: 1 set of mesh buckle assembly

	Width above 600mm
	Side: 2 sets of mesh quick connection strips; Bottom: 2 set of mesh
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	Product Number
	CTAC-CO-3300-1

	1
	Mesh L-shaped connector

	2
	Mesh buckle assembly


L-shaped link kit
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	Product Number
	CTAC-CO-3400-1

	1
	Mesh internal buckle assembly

	2
	Mesh buckle assembly

	3
	Mesh external buckle assembly
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Central buckle kit

	Product Number
	CTAC-CO-3500-1

	1
	M6×20 carriage bolt

	2
	Mesh buckle assembly

	3
	M6 hex flange nut
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	Product Number
	CTAC-CO-3600-1

	1
	Curved reinforcement strip

	2
	Mesh buckle assembly
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	Product Number
	CTAC-CO-3700-1

	1
	Inner and outer bend reinforcement strip

	2
	External clip

	3
	M6×20 carriage bolt and M6 flange nut
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Boltless buckle

	Product Number
	CTAC-CO-3800-1

	Boltless installation, used for the bottom connection when connecting mesh in a straight line horizontally.






[image: ]Mesh partition

	Product Number
	CTAC-CO-3900-1

	Size
	H40mm H50mm H60mm H75mm H100mm H150mm





[image: ]Cable outlet accessories 

	Product Number
	CTAC-CU-41XX-1

	Size
	H100mm, W200mm H100mm, W300mm

	Installation accessories
	4 M8×16 hex flange bolts and 4 M8 hex flange nuts


Mesh cable outlet
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	Product Number
	CTAC-CU-4200-1

	Installation accessories
	2 reinforced external clamps, 2 M8×16 hex flange bolts, and 2 M8 hex flange nuts


Lightweight grid outlet



[bookmark: _Hlk215480858][image: ]Pipe fixing plate

	Product Number
	CTAC-CU-43XX-1

	Single-hole pipe fixing plate
	φ17 φ21 φ25 φ32

	Double-hole pipe fixing plate
	φ17 φ21

	Three-hole pipe fixing plate
	φ21、φ25、φ32
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	Product Number
	CTAC-CU-44XX-1

	Size
	W45mm W90mm


Cable outlet plate



Cover 
[bookmark: _Hlk215486752][image: ]Mesh cable outlet

	Product Number
	CTAC-CU-51XX-1

	Size
	H50mm W100mm H50mm W150mm H50mm W200mm 
H100mm W100mm H100mm W150mm H100mm W200mm 
H100mm W300mm H100mm W400mm H150mm W300mm 
H150mm W400mm  H150mm W500mm  H150mm W600mm
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	Product Number
	CTAC-CU-52XX-1

	Size
	W50mm W100mm W150mm W200mm W300mm 
W400mm W500mm W600mm 


Mesh tray cover and cover clips
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	Product Number
	CTAC-WB-61XX-1

	Size
	W100mm W150mm W200mm W300mm W400mm


L-shaped wall backing board
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	Product Number
	CTAC-WB-62XX-1

	Size
	W100mm W150mm W200mm W300mm W400mm


Triangular wall backrest
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	Product Number
	CTAC-WB-6300-1

	Size
	H81mm W75mm


Spider Buckle
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	Product Number
	CTAC-WB-6400-1

	Size
	14.5mm * 51mm * 37mm (2mm thick)


Cross fixing plate
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	Product Number
	CTAC-WB-6500-1

	Size
	W80mm W300mm W400mm


Right-angle wall backing board






Hanging Bracket 
[image: ]C-shaped cross bar

	Product Number
	CTAC-HB-71XX-1

	Size
	10：W100mm；20：W200mm；30：W300mm 
40：W400mm；50：W500mm；60：W600mm

	Installation accessories
	Fixing Clip Outer clamp M6×20 flange bolt M6 flange nut
Threaded rod
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U-shaped cross bar

	Product Number
	CTAC-HB-72XX-1

	Size
	10：W100mm；20：W200mm；30：W300mm 
40：W400mm；50：W500mm；60：W600mm

	Installation accessories
	NA M6 flange nut Threaded suspension rod Kits
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	Product Number
	CTAC-HB-73XX-1

	Size
	10：W100mm；20：W200mm；30：W300mm 
40：W400mm；50：W500mm；60：W600mm

	Installation accessories
	NA M6 flange nut Threaded suspension rod


M-shaped cross bar
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	Product Number
	CTAC-HB-7400-1

	Component parts
	Profile suspension rod Triangular plate wall support


Profile hanging kit
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	Product Number
	CTAC-HB-7500-1

	Installation accessories
	M6 flange nut Threaded rod


Grid hook



[image: ]Grid hanging kit

	Product Number
	CTAC-HB-7600-1

	Size
	73mm * 30mm * 30mm

	Installation accessories
	M6 flange nut Threaded rod
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	Product Number
	CTAC-HB-7700-1

	Installation accessories
	M6 flange nut Threaded rod PVC pipe



Central snap
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	Product Number
	CTAC-HB-7800-1

	Size
	U-Type M-Type Enhanced type


Purlin end cap



[image: ][image: ][image: ][image: ][bookmark: OLE_LINK1][bookmark: OLE_LINK2][bookmark: _Hlk236916419]Lead screw kit

	Product Number
	CTSA-LS-XX*XXX

	Size
	M8*1000; M10*1000; M12*1000; M14*1000
M8*3000; M10*3000; M12*1000; M14*1000

	Installation accessories
	NA  Expansion screw  Nut





Floor Bracket 
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	Product Number
	CTAC-FB-81XX-1

	Size
	H:50mm 100mm 150mm 200mm 
W:100mm 200mm 300mm 400mm 500mm 600mm

	Installation accessories
	M8×16 hex flange bolts M8 hex flange nuts


L-shaped wall backing board
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	Product Number
	CTAC-FB-8200-1

	Installation accessories
	M6×20 hex flange bolts M6 hex flange nuts Fixing Clip Outer clamp



Profile support kit
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	Product Number
	CTAC-FB-8300-1

	Component parts
	Profile Hanger Rod Triangular wall brace




Profile support kit
(Triangular wall brace)

[image: ]

	Product Number
	CTAC-FB-8400-1

	Size
	W100mm W150mm W200mm


V-shaped support kit
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