Application

Prose PDU (Power Distribution Unit) provides various series of specifications with different functions, installation methods and plug combinations. The PDU is designed for power distribution in server racks, network cabinets, and data center equipment. It provides six UK 13A outlets for reliable power supply to multiple devices. The unit is equipped with a 16A 3-meter power cable with industrial connector plug and is suitable for rack-mounted applications.

Characteristic

- Modular design，high compatibility and extensibility.

- Socket diversified, various sockets of different standard to meet the needs of different customers.

- Various power input，adopt GB plug, industrial coupler and other standard power input.

- Overload protection switch, prevent load short circuit and overload protection.

- Strong applicability, suitable for a variety of installation methods.

- 16A, 3-meter, 3-core input cable with industrial connector plug

- Main circuit breaker protection and power indicator

- Black housing with compact rack-mount design

- Operating temperature: -10°C to +45°C

PDU structure

Technical Parameter

| Parameter | Specification |
| --- | --- |
| PN | PU11-23016A-C06BH04 |
| Rated Current (Ir) | 16A |
| Rated Voltage (Un) | 250VAC |
| Maximum Power (Pmax) | 4000W |
| Input | 16A, 3-meter 3-core cable with 16A industrial connector plug |
| Output | 6 × UK 13A outlets |
| Dielectric Strength (L/N-PE) | 1.5kV |
| Protection Features | Main circuit breaker protection and power indicator |
| Product Color | Black |
| Operating Temperature | -10°C to +45°C |
| Relative Humidity | 0% to 95% RH |
| Dimensions (L × W × H) | 482.6 × 45.3 ± 1 × 47.2 ± 1 mm |
| Mounting Dimensions | 461 × 31.8 ± 1 mm |
| Accessories | Mounting screws, 4 sets |

GLOBAL FOOTPRINT

| Headquarters | South Asia | South East Asia | East Asia |
| --- | --- | --- | --- |
| Donauwörth - Germany PROSE Technologies GmbH Add.: Dr.-Friedrich-Drechsler-Straße 14, 86609 Donauwörth, Germany E-mail: info.eu@Prosetechnologies.com | Mumbai - India PROSE Technologies India Private Limited Add.: 403-407, Eco Star, Vishveshwar Nagar, Goregaon East, Mumbai ,India 400063 Tel: +91 22-66453000 E-mail: info.in@prosetechnologies.com Pune - India PROSE Technologies India Pvt.Ltd Add.: A-79, Block-A , Horizon Industrial Parks, Phase II, MIDC Chakan Industrial Area, Khed, Pune , India 410501 Tel: +91 2135-635200 E-mail: info.in@prosetechnologies.com Bangalore - India PROSE Technologies India Private Limited Add.: No.494 East End Main Road, Jayanagar IX Block, Bangalore, India 560069 E-mail: info.in@prosetechnologies.com New Delhi - India PROSE Technologies India Pvt.Ltd Add.: H-3/157, 2nd Floor, Vikas Puri, New Delhi, India 110018 E-mail: info.in@prosetechnologies.com Dhaka - Bangladesh PROSE Technologies (Bangladesh) Limited Add.: House-360 (2nd Floor), Lane-5 (East), Baridhara DOHS, Dhaka-1206, Bangladesh Tel: +880 1977070130 E-mail: info.bd@prosetechnologies.com Islamabad - Pakistan Add.: Unit 514, 5th Floor, ISE Towers, Islamabad, Pakistan Tel: +92 3335357733 E-mail: info.pk@prosetechnologies.com Sri Lanka Tel: +880 1977070130 E-mail: info.lk@prosetechnologies.com | Selangor - Malaysia PROSE Technology (M) Sdn. Bhd Add.: Unit 2-1, Level 2, The Podium, Tower 3, UOA Business Park, No 1, Jalan Pengaturcara U1/51a, Seksyen U1, 40150 Shah Alam, Selangor, Malaysia Tel: +60 126859319 E-mail: info.my@prosetechnologies.com Bangkok - Thailand PROSE Technology (Thailand) Co., Ltd Add.: 349 SJ Infinite I Business Complex,9 Floor, Room 905, Vibhavadi Rangsit Road, Chom Phon Sun-district, Chatuchak District, Bangkok Provice, Thailand Tel: +66 80 6606630 E-mail: info.th@prosetechnologies.com Singapore PROSE Technologies (Singapore) Pte.Ltd Add.: 10 Anson Road#13-15 International Plaza Singapore 079903 Tel: +6598366793 E-mail: info.sg@prosetechnologies.com Hanoi - Vietnam PROSE Technologies (Vietnam) Company Limited Add.: Floor 15, Vinaconex 9 Building, HH-2 Block, Pham Hung Street, Me Tri Ward, Nam Tu Liem District, Hanoi, Vietnam Tel: +84 933086498 E-mail: info.vn@prosetechnologies.com Taguig - Philippines PROSE Technologies Philippines, Inc. Add.: Unit 17 19th Floor Highstreet South Corporate Plaza Tower 1, 26th Street corner 9th Avenue, Bonifacio Global City, Taguig City, Philippines Tel: +63 27572762 E-mail: info.ph@prosetechnologies.com Jakarta - Indonesia PT. PROSE Technologies Indonesia Add.: Plaza Sentral 6th Floor, Jalan Jenderal Sudirman No. 47, Jakarta 12930, Indonesia Tel: +62 21 57901997 E-mail: info.id@prosetechnologies.com | Suzhou - China PROSE Technologies (Suzhou) Co.,Ltd Add.: No. 6, Shen’an Road, DianShanHu, Suzhou, JiangSu, China E-mail: Info@prosetechnologies.com Beijing - China PROSE Technologies (Beijing) Co.,Ltd E-mail: Info@prosetechnologies.com Shanghai - China PROSE Technologies (Shanghai) Co.,Ltd E-mail: Info@prosetechnologies.com Dongguan - China Add.: Room 1506, building 1, No. 1, Yile Road, Songshanhu Park, Dongguan City, Guangdong Province, China E-mail: Info@prosetechnologies.com Hongkong - China PROSE Technologies Company Limited Add.: Unit B 13/F,Prat Commercial Building, 17-19 Prat Avenue, Tsimshatsui, Kowloon, HongKong, China Tel:+86 512 86896789 - 2921/2922 E-mail: info.hk@prosetechnologies.com Taiwan Tel: +63 2 7572762 E-mail: info.tw@prosetechnologies.com |
| Western Europe |  |  |  |
| Dublin - Ireland PROSE Technologies (Ireland) Limited Add.: 6th Floor, South Bank House, Barrow Street, Dublin 4 Ireland E-mail: Info@prosetechnologies.com |  |  |  |
| Eastern Europe & Central Asia |  |  |  |
| E-mail: info.eeca@prosetechnologies.com |  |  |  |
| North America |  |  |  |
| New Jersey - America PROSE Technologies LLC Add.: 550 Clark Drive Budd Lake, NJ 07828, United States of America Tel: +1 888 840 4066 E-mail: info.us@prosetechnologies.com |  |  |  |
| Middle East |  |  | Oceania |
| Dubai - UAE PROSE Technologies DMCC Add.: 3702, Mazaya Business Avenue BB2, JLT, Dubai Tel: +971 4 3999168 E-mail: info.ae@prosetechnologies.com |  |  | New South Wales - Australia PROSE Technologies (Australia) Pty. Ltd Add.: 5/13 Boundary Rd, Northmead, NSW 2152, Australia Tel: +61 2 78055523 E-mail: info.au@prosetechnologies.com |
| Africa |  |  |  |
| Nairobi - Kenya PROSE Technologies Africa (PTY) Ltd Tel: +254 780440410 E-mail: info.ke@prosetechnologies.com Gauteng, (Johannesburg) - South Africa PROSE Technologies Africa (PTY) Ltd Add.: Building 20, Cambridge Office Park, 5 Bauhina Road, Highveld Techno Park Centurion, Gauteng 0169, South Africa Mobile: +27 725554840 E-mail: info.za@prosetechnologies.com |  |  |  |